Saisir le n° de ligne
Enter the line number
saisir le n° de colonne
Enter the column number
Enter the column number
Max 12 characters
## Data
	IntegraGen SA					Document Code:		FAB-ENR-035
	Quality Management System					Revision:		1
	miRpredX 31-3p results calculation spreadsheet

	Changes tracking (History of changes)

	Revision	Description			Date		Written by		Released by
	0	Initial version			02/10/2017		C. David		L. Ramon / S. Roy
	1	Minor adjustments ; optimization of conditional settings			19/01/2018		L. Ramon		C. David

	Warning: / To be used only for primary analysis with OpenOffice. The use of other software does not guarantee the functionality and safety of this spreadsheet. Refer to the Instructions for Use for a complete analysis of the results.

	Information for Kit Utilized for Testing					Insert data in green boxes only

	Lot number
	Expiration date
	Number of kit use

	Operator
	Operator name
	Thermocycler brand and reference
	qPCR equipment brand and reference
	Date of analysis

	Step 1 : Reverse transcription

	Samples
		Position
	n°	Line	Column	Loc.	ID# code
	S1
	S2
	S3
	S4
	1					Legend:		Presence of duplicates, please assign a unique position to each patient.
	2
	3
	4
	5
	6
	7
	8
	9
	10
	11
	12
	NTC-RT
	NTC-qPCR

	Plate layout
			1	2	3	4	5	6	7	8	9	10	11	12
		A	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D
		B	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D
		C	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D
		D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D
		E	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D
		F	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D
		G	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D
		H	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D

	Checked by		Date	Signature

	Étape 2 : PCR en temps réel

	Samples
			Position
	n°	Line	Column	Loc.	Code ID#
miR-31-3p	S1				-miR-31-3p
				-miR-31-3p
	S2				-miR-31-3p
				-miR-31-3p
	S3				-miR-31-3p
				-miR-31-3p
	S4				-miR-31-3p
				-miR-31-3p
	1				-miR-31-3p
				-miR-31-3p
	2				-miR-31-3p
				-miR-31-3p
	3				-miR-31-3p
				-miR-31-3p
	4				-miR-31-3p
				-miR-31-3p
	5				-miR-31-3p
				-miR-31-3p
	6				-miR-31-3p
				-miR-31-3p
	7				-miR-31-3p
				-miR-31-3p
	8				-miR-31-3p
				-miR-31-3p
	9				-miR-31-3p
				-miR-31-3p
	10				-miR-31-3p
				-miR-31-3p
	11				-miR-31-3p
				-miR-31-3p
	12				-miR-31-3p
				-miR-31-3p
	NTC-RT				-miR-31-3p
				-miR-31-3p
	NTC-qPCR				-miR-31-3p
				-miR-31-3p
miR-calibrator	S1				-miR-calibrator
				-miR-calibrator
	S2				-miR-calibrator
				-miR-calibrator
	S3				-miR-calibrator
				-miR-calibrator
	S4				-miR-calibrator
				-miR-calibrator
	1				-miR-calibrator
				-miR-calibrator
	2				-miR-calibrator
				-miR-calibrator
	3				-miR-calibrator
				-miR-calibrator
	4				-miR-calibrator
				-miR-calibrator
	5				-miR-calibrator
				-miR-calibrator
	6				-miR-calibrator
				-miR-calibrator
	7				-miR-calibrator
				-miR-calibrator
	8				-miR-calibrator
				-miR-calibrator
	9				-miR-calibrator
				-miR-calibrator
	10				-miR-calibrator
				-miR-calibrator
	11				-miR-calibrator
				-miR-calibrator
	12				-miR-calibrator
				-miR-calibrator
	NTC-RT				-miR-calibrator
				-miR-calibrator
	NTC-qPCR				-miR-calibrator
				-miR-calibrator

	Plate Layout
			1	2	3	4	5	6	7	8	9	10	11	12
		A	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D
		B	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D
		C	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D
		D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D
		E	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D
		F	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D
		G	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D
		H	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D	#N/D

	Checked by		Date	Signature

	The miRpredX 31-3p test kit has received IVD CE Mark approval and is commercially available in countries recognizing the CE Mark, or with applicable health authority registrations. The miRpredX 31-3p test kit is not available for sale in the United States.
				IntegraGen SA
				Génopôle Campus 1 – Bât. 8
				5, Rue de Henri Desbruères
				91000 Evry, FRANCE

	For professional use only.					support-miRpredX@integragen.com

	© 2018 IntegraGen SA. All rights reserved.					www.integragen.com

## Standard Results
IntegraGen SA					Document Code:		FAB-ENR-035
Quality Management System					Revision:		1
miRpredX 31-3p results calculation spreadsheet

Instructions
Enter Ct of each standard, acceptance criteria are calculated automatically

CALIBRATION CURVE ANALYSIS: EVALUATION OF THE ACCEPTABILITY OF QUANTIFICATION

	Insert data in green boxes only

	Standard	ng	Log (ng)	Ct miR-31-3p	Ct miR-31-3p Mean	SD	Ct miR-Cal	Ct miR-Cal Mean	SD	DCt	Std Err
	S1	1,00E+02	2,00

	S2	5,00E+01	1,70

	S3	5,00E+00	0,70

	S4	5,00E-01	-0,30

	NTC-RT

	NTC-qPCR

				Acceptability Criteria			Obtained
		∆Ct standard 2				2,8+/-0,5
		Slope miR-31-3p				[-2,92 ; -3,92]			#VALEUR !
		Slope miR-calibrator				[-2,92 ; -3,92]			#VALEUR !
		r2 miR-31-3p				> 0,95			#VALEUR !
		r2 miR-calibrator				> 0,95			#VALEUR !
		NTC-RT				Ct>39 or "Undetermined"			Hors Spécifications
		NTC-qPCR				Ct>39 or "Undetermined"			Hors Spécifications

miRpredX 31-3p curve

	Checked by		Date	Signature

The miRpredX 31-3p test kit has received IVD CE Mark approval and is commercially available in countries recognizing the CE Mark, or with applicable health authority registrations. The miRpredX 31-3p test kit is not available for sale in the United States.
				IntegraGen SA
				Génopôle Campus 1 – Bât. 8
				5, Rue de Henri Desbruères
				91000 Evry, FRANCE

For professional use only.					support-miRpredX@integragen.com

© 2018 IntegraGen SA. All rights reserved.					www.integragen.com

## Samples Results
IntegraGen SA					Document Code:		FAB-ENR-035
Quality Management System					Revision:		1
miRpredX 31-3p results calculation spreadsheet

Instructions
Enter the Ct of each sample, the table calculates the status of each sample.

Analysis factor related to the standard		1,43

Insert data in green boxes only

RNA ID	Ct miR-31-3p	Ct miR-31-3p Mean	SD	Ct miR-Cal	Ct miR-Cal Mean	SD	DCt	DDCt	Fold	miR-31-3p status
WookieeStephaneRoyLucasRamon

WookieeStephaneRoyLucasRamon

WookieeStephaneRoyLucasRamon

WookieeStephaneRoyLucasRamon

WookieeStephaneRoyLucasRamon

WookieeStephaneRoyLucasRamon

WookieeStephaneRoyLucasRamon

WookieeStephaneRoyLucasRamon

WookieeStephaneRoyLucasRamon

WookieeStephaneRoyLucasRamon

WookieeStephaneRoyLucasRamon

WookieeStephaneRoyLucasRamon

Mean miR-cal legends column:			Calibrator above alert limit: / Result is acceptable under conditions*				Calibrator above acceptance limit low RNA content of sample: / check sample RNA concentration/quality*

				* See Instruction For Use

Checked by	Date	Signature

The miRpredX 31-3p test kit has received IVD CE Mark approval and is commercially available in countries recognizing the CE Mark, or with applicable health authority registrations. The miRpredX 31-3p test kit is not available for sale in the United States.
				IntegraGen SA
				Génopôle Campus 1 – Bât. 8
				5, Rue de Henri Desbruères
				91000 Evry, FRANCE

For professional use only.					support-miRpredX@integragen.com

© 2018 IntegraGen SA. All rights reserved.					www.integragen.com

## Réferences
Line	Column
A	1
B	2
C	3
D	4
E	5
F	6
G	7
H	8
	9
	10
	11
	12

	1	2	3	4	5	6	7	8	9	10	11	12
A	A1	A2	A3	A4	A5	A6	A7	A8	A9	A10	A11	A12
B	B1	B2	B3	B4	B5	B6	B7	B8	B9	B10	B11	B12
C	C1	C2	C3	C4	C5	C6	C7	C8	C9	C10	C11	C12
D	D1	D2	D3	D4	D5	D6	D7	D8	D9	D10	D11	D12
E	E1	E2	E3	E4	E5	E6	E7	E8	E9	E10	E11	E12
F	F1	F2	F3	F4	F5	F6	F7	F8	F9	F10	F11	F12
G	G1	G2	G3	G4	G5	G6	G7	G8	G9	G10	G11	G12
H	H1	H2	H3	H4	H5	H6	H7	H8	H9	H10	H11	H12